## Sheet1
Metropolitan Sewerage District of Buncombe County
Sanitary Sewer Pipes Statistics
Total feet of pipe: | 5401591.52
Total mileage of pipe: | 1023.0287
Gravity Mains | Distance (feet) | Distance (miles) | Percent
Total Distance | 5311173.16 | 1005.904 | 100%
Material
Cast Iron | 1376.4682 | 0.26069 | 0.02592%
Cured In Place | 58937.863 | 11.1625 | 1.11%
Corrugated Metal | 159.2035 | 0.030152 | 0.002998%
Ductile Iron Pipe | 1168281.8447 | 221.2655 | 22%
Earthen | 694.7618 | 0.13158 | 0.01308%
High Density Polyethylene | 36347.3304 | 6.884 | 0.6844%
Pitch Fiber | 8714.6702 | 1.6505 | 0.1641%
Polyethylene | 508.5418 | 0.096315 | 0.009575%
Polypropylene | 865.416 | 0.1639 | 0.01629%
Plastic/Steel Composite | 279.2311 | 0.052885 | 0.005257%
Polyvinyl Chloride | 1645709.1332 | 311.6873 | 30.99%
Reinforced concrete | 204574.9579 | 38.7453 | 3.852%
Reinforced plastic | 17972.5357 | 3.4039 | 0.3384%
Steel | 276.057 | 0.052284 | 0.005198%
Transite | 9994.2507 | 1.8929 | 0.1882%
Vitrified clay | 2015746.6947 | 381.7702 | 37.95%
Unknown | 139612.9205 | 26.4418 | 2.629%
Other | 1121.281 | 0.21236 | 0.02111%
Diameter (inches)
Unknown | 285955.8308 | 54.1583 | 5.384%
2 | 18.0984 | 0.0034277 | 0.0003408%
4 | 44571.2678 | 8.4415 | 0.8392%
6 | 1032427.651 | 195.5355 | 19.44%
8 | 2974863.1893 | 563.4211 | 56.01%
10 | 138778.2313 | 26.2838 | 2.613%
12 | 199537.3606 | 37.7912 | 3.757%
14 | 217.5526 | 0.041203 | 0.004096%
15 | 51049.6591 | 9.6685 | 0.9612%
16 | 34443.5209 | 6.5234 | 0.6485%
18 | 79615.2612 | 15.0786 | 1.499%
20 | 33604.4202 | 6.3645 | 0.6327%
21 | 42114.4346 | 7.9762 | 0.7929%
24 | 72867.9606 | 13.8008 | 1.372%
27 | 44335.2568 | 8.3968 | 0.8348%
30 | 94667.9536 | 17.9295 | 1.782%
36 | 70527.4073 | 13.3575 | 1.328%
42 | 15794.2721 | 2.9913 | 0.2974%
48 | 51602.4842 | 9.7732 | 0.9716%
54 | 6809.0091 | 1.2896 | 0.1282%
60 | 31887.1508 | 6.0392 | 0.6004%
66 | 5485.189 | 1.0389 | 0.1033%
Pressurized Mains | Distance (feet) | Distance (miles) | Percent
Total Distance | 90418.36 | 17.1247 | 100%
Material
Corrugated Metal | 8976.2662 | 1.7001 | 9.927%
Ductile iron | 24348.2469 | 4.6114 | 26.93%
High-density Polyethylene | 3484.3101 | 0.65991 | 3.854%
Polyvinyl chloride | 48264.5416 | 9.141 | 53.38%
Vitrified clay | 1553.9647 | 0.29431 | 1.719%
Unknown | 3791.0318 | 0.718 | 4.193%
Diameter (inches)
0 | 3283.9547 | 0.62196 | 3.632%
2 | 2490.6303 | 0.47171 | 2.755%
3 | 11577.5125 | 2.1927 | 12.8%
4 | 10823.3108 | 2.0499 | 11.97%
6 | 14409.1086 | 2.729 | 15.94%
8 | 24806.7073 | 4.6982 | 27.44%
12 | 18829.8312 | 3.5663 | 20.83%
18 | 143.8505 | 0.027244 | 0.1591%
20 | 3281.2854 | 0.62146 | 3.629%
24 | 772.1702 | 0.14624 | 0.854%